GENOMIC SURVEILLANCE OF SARS-COV-2_Nanopore Midnight Protocol

Protocol 1: cDNA synthesis

Consumables

- LunaScript – RT SuperMix kit (New England Biolabs)

- 96 well nested plates

- 10ul tips and pipette

- Plate seals - foil

Procedure

- Ensure the procedure is performed in a dedicated pre-PCR clean room.

- The mastermix dead air hood must be decontaminated before and after use.  Wipe the hood and wipe area with 10% extran / bleach, followed by 70% ethanol, thereafter sterilisation with ultraviolet light (UV).

- Open a kit of LunaScript, and briefly centrifuge the tube containing 400ul of reagent (blue).

- Aliquot 1ul of LunaScript reagent into each well on a 96-well nested plate

- Seal the plate using a plate seal.

- Sort at 4 °C for later use or at -20 °C for longer duration.

|  |  | A |  |  | B |
| --- | --- | --- | --- | --- | --- |
|  |  | Component |  |  | Volume (ul) |
|  |  | LunaScript |  |  | 1 ul |
|  |  | RNA Template (sample) |  |  | 5.5 ul |
|  |  | Total |  |  | 6.5 |

- Transfer 5.5 ul of total nucleic acid (TNA) extracts to each well as per table 1.

Table 1. cDNA synthesis mastermix

- Add an amplication negative control (nuclease-free water), and an amplification positive control from a previous run to an empty well for every cDNA synthesis plate.

- Total volume for the reaction is 6,5 ul.

- Centrifuge the 96-well reaction plate for 1minute at 1000 rpm.

- Incubate the reaction as per table 2 in a thermal cycler under the following conditions:

Table 2. PCR conditions – cDNA synthesis

|  | A | B |
| --- | --- | --- |
|  | Temperature (°C) | Time |
|  | 25 °C | 2 minutes |
|  | 55 °C | 10 minutes |
|  | 95 °C | 1 minute |
|  | 4 | Hold |

Protocol 2:  Primer preparation and SARS-COV-2 tiling PCR

Consumables

- Pool 1 and pool 2 primers

- 96 well nested plates

- 10 ul tips and pipette

- 1000 ul tips and pipette

- 200 ul tips and pipette

- Rubber mats / plate seals

- Q5 Hot Start High-Fidelity DNA Polymerase

- Nuclease free water

Procedure

Primer preparation

- Primers must be diluted and pooled using nuclease free water in a clean mastermix hood. The mastermix hood must be decontaminated before and after use with 10% extran, and 70% ethanol, and sterilised with ultraviolet light (UV).

- Dilute the 100μM primer pool 1:10 in molecular grade water, to generate 10 µM primer stocks. It is recommended that multiple aliquots of each primer pool are made in case of degradation or contamination.

Primers need to be used at a final concentration of 0.015μM per primer. In this case (1200 nt

amplicons), pool 1 has 30 primers and pool 2 has 28 primers, so the requirement is 1.13μL for

primer pool 1 and 1.05μL for primer pool 2 (10uM) per 25μL reaction. However, as these values are

relatively close, we round up and down to 1.1ul for both pools, so the pools can be made in a similar

fashion. For other schemes, adjust the volume added appropriately.

Multiplex PCR

- Prepare the PCR mastermix in the clean mastermix room.

- The mastermix hood must be decontaminated before and after use with 10% extran, and 70% ethanol, and sterilised with ultraviolet light (UV).

- A mastermix for each pool must be made up in the mastermix hood.

- Mix the following components in a correctly labelled 1.5ml eppendorf tube as per table 3:

Table 3. PCR COVID-19 tiling PCR mastermix

|  |  | Component | Pool 1 volumes (μl) | Pool 2 volumes (μl) |
| --- | --- | --- | --- | --- |
|  |  | Q5® Hot Start HF 2x Master Mix | 6.25 | 6.25 |
|  |  | Primer Pool 1 (10μM) | 0.6 | 0 |
|  |  | Primer Pool 2 (10μM) | 0 | 0.6 |
|  |  | Nuclease-free water | 4.5 | 4.5 |
|  |  | Total | 11.3 | 11.3 |

- Aliquot the mastermix in labelled PCR strip tubes.

- In the extraction and sample addition cabinet: which has been decontaminated using with 10% extran, and 70% ethanol, and sterilised with ultraviolet light (UV):

- Add 1.5 μl each cDNA sample to a tube containing 11.3 μl Pool 1. Mix well by pipetting.

- Add 1.5 μl each cDNA sample to a tube containing 11.3 μl Pool 2. Mix well by pipetting.

- Vortex  and pulse-spin the tube to collect the liquid at the bottom of the tube.

- Incubate the reaction as follows in a thermal cycler.

Table 6. Tiling PCR conditions

|  | Step | Temperature (°C) | Time | Cycles |
| --- | --- | --- | --- | --- |
|  | Heat Activation | 98 | 30 seconds | 1 |
|  | Denaturation | 98 | 15 seconds | 35 |
|  | Annealing | 65 | 5 minutes |  |
|  | Hold | 4 | ∞ |  |

*Cycle number should be 25 for Ct 18-21, and up to a maximum of 35 cycles for Ct 35.

- Label a 1.5 mL Eppendorf tube for each sample and combine the two pools the PCR reaction as follows:

|  |  | A |  |  | B |
| --- | --- | --- | --- | --- | --- |
|  |  | Component |  |  | Volume (ul) |
|  |  | Pool 1 PCR reaction |  |  | 10 ul |
|  |  | Pool 2 PCR reaction |  |  | 10 ul |
|  |  | Total |  |  | 20 |

- Quantify DNA using a Qubit or other method. Quantification using Nanodrop is not recommended. If you do not have a Qubit or want to save time/costs, you can omit this step.

QUANTIFICATIONS USING QUBIT v3.0 FLUOROMETER

Materials

Qubit Fluorometer v3

Qubit dsDNA HS Reagent (light sensitive) & Buffer (room temperature)

Qubit dsDNA HS Standards (1, 2), stored at 4°C

15 ml or 50 ml conical tube (depending on volume required)

Qubit Assay Tubes

- Prepare the Qubit Working Solution by diluting the Qubit dsDNA HS Reagent with the Qubit dsDNA HS Buffer in a 15ml or 50 ml conical tube, using the following formula:

Qubit dsDNA HS Buffer= (no. of samples (n) x 199)

Qubit dsDNA HS Reagent= 1 x no. of samples (n)

- Mix thoroughly by pulse vortexing to ensure a homogenous working solution (keep in dark till ready to use)

- Prepare assay tubes as follows:

a) 10μl Standard + 190μl Working Solution (Standard 1 and Standard 2) low and high   respectively.

b) 1μl Sample + 199μl Working Solution.

- Vortex the tubes briefly and incubate at room temperature for at least 2 minutes prior to measuring the concentration. Tap the tubes to ensure there are no air bubbles.

- Turn the Qubit on and choose “DNA”, then choose “dsDNA High Sensitivity”. Choose   “Yes” to read new standard.

- Place the Standard 1 tube in the Qubit, close the lid and press “Read”. Repeat with Standard 2. The Qubit will automatically generate a standard curve from the readings

- Measure and record readings for each sample tube with volume set t 1ul and unit set at ng/ul.

- If the concentration is too high and falls above the Qubit standard curve, a diluted aliquot of the PCR amplicon sample must be made (e.g. 1:10 ie. 1 µl DNA sample + 9 µl nuclease free water). The sample must then be re-aliquoted into a new assay tube with new working solution and read again.

- If the concentration is too low and falls below the Qubit standard curve, there is likely insufficient amplicon for successful sequencing and the sample should be omitted.

- Using the Qubit readings, calculate and record the concentration of each PCR amplicon.

Normalisation

- Adjust the amount of DNA in the tube to be 100 ng total per sample in 7.5 μl

molecular grade water. For example if your PCR reaction is at 100ng/ul, add 1ul       of the PCR reaction to 6.5ul of molecular grade water. Input to the Rapid Barcoding kit will vary depending on the amplicon length but we have determined 50-200 ng works for efficient barcoding of this amplicon length.

- If there is under 100ng or you do not know the concentration, simply use 7.5 μl neat of the pooled PCR reaction.

- Use the full 7.5 μl of the negative control, even if there is no detectable DNA in the PCR reaction.

Rapid barcoding using the SQK RBK110.96 kit

- Multiple samples can be run on the same flow cell by barcoding.

- Up to 96 if you are using the RBK110.96 kit.

- Amplicons from each sample will be individually barcoded in the following steps.

- It is highly recommended to use the current Oxford Nanopore Protocol for the following steps.

- Add 7.5 μl of each diluted PCR reaction from step 36 to the labelled PCR tube.

Set up the following reaction for each sample:

|  | A | B |
| --- | --- | --- |
|  | Component | Volume (ul) |
|  | DNA amplicons from step 39 (100ng total) | 7.5 ul |
|  | Fragmentation Mix RB01-96 (one for each sample, included in kit) | 2.5 ul |
|  | Total | 10 |

- Mix gently by flicking the tube, and spin down.

- Incubate the reaction in a PCR machine:

|  | A | B |
| --- | --- | --- |
|  | Temperature (°C) | Time |
|  | 30 °C | 1 minutes |
|  | 80 °C | 1 minutes |
|  | 4 °C | 30 seconds |

- Pool all barcoded samples, noting the total volume.

- Ampure XP Bead Cleanup. Use a 1:1 ratio of sample to beads.

- Vortex SPRI beads thoroughly to ensure they are well resuspended, the solution should be a homogenous brown colour

- Add an equal volume (1:1) of SPRI beads to the sample tube and mix gently by either flicking or pipetting. For example add 960 μl room temperature SPRI beads to a 960 μl  reaction.

- Pulse centrifuge to collect all liquid at the bottom of the tube.

- Incubate for 00:05:00 at room temperature.

- Place on magnetic rack and incubate for 00:02:00 or until the beads have pelleted and the supernatant is completely clear.

- Carefully remove and discard the supernatant, being careful not to touch the bead pellet.

- Add 200 μl of freshly prepared room-temperature 80 % volume ethanol to the pellet.

- Keeping the magnetic rack on the benchtop, rotate the bead-containing tube by 180°. Wait for the beads to migrate towards the magnet and re-form a pellet. Remove the ethanol using a pipette and discard.

- Repeat ethanol wash.

- Pulse centrifuge to collect all liquid at the bottom of the tube and carefully remove as much residual ethanol as possible using a P10 pipette.

- With the tube lid open incubate for 00:01:00 or until the pellet loses it's shine (if the pellet  dries completely it will crack and become difficult to resuspend).

- Remove the tube from the magnetic rack. Resuspend pellet in 11 μl elution buffer/ Nuclease free water, mix gently by flicking and incubate at room temperature for 00:02:00

- Place on magnet and transfer sample to a clean 1.5mL Eppendorf tube ensuring no beads are transferred into this tube.

- Add 1 μl of RAP (from the RBK110.96 kit) to 11 μl cleaned, barcoded DNA from step 17 . Mix gently by flicking the tube, and spin down.

- Incubate the reaction for 00:05:00 at room temperature.

- The prepared library is used for loading into the MinION flow cell. Store @ 4oC or on ice until ready to load.

MinION sequencing

Priming and loading the SpotON Flow Cell

Materials

Flush Buffer (FB)

Flush Tether (FLT)

Loading Beads II (LBII)

Sequencing Buffer II (SBII)

Loading Solution (LS)

- Thaw the Sequencing Buffer II (SBII), Loading Beads II (LBII) or Loading Solution (LS, if using), Flush Tether (FLT) and Flush Buffer (FB) at room temperature.

- Mix the Sequencing Buffer II (SBII), Flush Buffer (FB) and Flush Tether (FLT) tubes by vortexing. Spin down the SBII and FLT at room temperature.

- Open the GridION  lid and slide the flow cell under the clip

- Slide the priming port cover clockwise to open the priming port.

IMPORTANT

Take care when drawing back buffer from the flow cell. Do not remove more than 20-30 μl, and make sure that the array of pores are covered by buffer at all times. Introducing air bubbles into the array can irreversibly damage pores.

- After opening the priming port, check for a small air bubble under the cover. Draw back a small volume to remove any bubbles (a few μl):

- Set a P1000 pipette to 200 μl

- Insert the tip into the priming port

- Turn the wheel until the dial shows 220-230 μl, or until you can see a small volume of buffer entering the pipette tip

- Visually check that there is continuous buffer from the priming port across the sensor array.

- To prepare the flow cell priming mix, add 30 μl of thawed and mixed Flush Tether (FLT) to 1.17 ml of thawed and mixed Flush Buffer (FB), and mix by vortexing at room temperature.

- Load 800 μl of the priming mix into the flow cell via the priming port, avoiding the introduction of air bubbles. Wait for 5 minutes.

- During this time, prepare the library for loading by following the steps below.

- Thoroughly mix the contents of the Loading Beads II (LBII) by pipetting.

In a new tube, prepare the library for loading as follows:

|  |  | A |  | B |
| --- | --- | --- | --- | --- |
|  |  | Component |  | Volume (ul) |
|  |  | Sequencing Buffer II (SBII) |  | 37.5 μl |
|  |  | Loading Beads II (LBII) mixed immediately before use, or Loading Solution (LS), if using |  | 25.5 μl |
|  |  | DNA library |  | 12 μl |
|  |  | Total |  | 75 μl |

Complete the flow cell priming:

- Gently lift the SpotON sample port cover to make the SpotON sample port accessible.

- Load 200 μl of the priming mix into the flow cell via the priming port (not the SpotON sample port), avoiding the introduction of air bubbles.

- Mix the prepared library gently by pipetting up and down just prior to loading.

- Add 75 μl of sample to the flow cell via the SpotON sample port in a dropwise fashion. Ensure each drop flows into the port before adding the next.

- Gently replace the SpotON sample port cover, making sure the bung enters the SpotON port, close the priming port.

.

IMPORTANT

- Required settings in MinKNOW

- When setting the sequencing parameters in MinKNOW, in the Basecalling set barcoding as Enabled, and in the barcoding options, toggle ON the

- Mid-read barcodes and Override minimum mid barcoding score set to 50.

Optional: basecalling and/or demultiplexing of sequences can be performed using the stand-alone Guppy software.